SCOPE OF WORK
CHARLESTON COUNTY PARK AND RECREATION COMMISSION

DOG PARK UPGRADE AT
 PALMETTO ISLANDS COUNTY PARK

1.  All work shall be in accordance with the attached proposal.

2.  Protect the surrounding area including boardwalks, sidewalks, and vegetation.  The contractor shall maintain a safe work area around the facility.

3.  The Contractor shall follow all applicable City, County, State and Federal codes and regulations.
4.  Contractor shall properly install:

       A.  A 4 foot wide sidewalk starting from existing sidewalk approximately 19 feet in front of the small dog park turning left then extending down the fence line 195 feet.

       B.  Pour 12’x14’ 4 inch thick pad at the end of the walkway leading to accommodate “4C” below.
      C.   Construct a two way enter/exit to match (exactly) current entry / exit with chain link fencing and gates (Reference to gates at front of Dog Park).

       D.  Pour a 4” thick 6’x6’ pad inside big dog park with drain in the middle of the pad and draining towards wood line. (Location to be determined at time of construction).
       E.  All poured concrete shall be at least 3000 psi.
       F.  Shall provide Temporary sections of chain link fencing 4 foot high with zero clearance from ground to bottom of fence.  Sections should not be less than 6 foot nor exceed 8 foot.

       G.  Sections would interlock for easy installation and removal for storage.  The total number of feet for the temporary fencing is approximately 88 feet.
       H.  Tie into existing water line between current watering station and backflow preventer (Tee into and install valve box with shut-off valve) and proceed across the dog park (with 1/2 inch PEX pipe at least 12 inches in depth) approximately 88 feet and stub up on a 4x4 treated post and cap PEX line up 2 feet next to 4D above (6’x6’ poured concrete pad with middle drain).
        I.  Contractor responsible for all underground locating of all utilities. Any breach in any utility will be the responsibility of the contractor for proper repairs.

5.  The project is for the The Dog Park Upgrade, located at 444 Needle Rush Parkway, Mt. Pleasant, SC 29464.
6.  All materials used on the job shall be equal to or better than the existing materials quality.

7.  Contractor will be responsible for removal and disposal of all old building material and maintain a safe and clean work area. Properly secure work site to ensure the public is safe. 

8.  Contractor shall provide all tools and equipment that are necessary to complete the project.

9.  Contractor shall provide all warranty information upon completion of project.
10.  All work shall be completed no later than April 15, 2015 or sooner.

11.  Owner reserves the right to stop or reschedule work due to conditions in the park.

12.  All work shall be done between 7:00 a.m. – 5:00 p.m., Monday – Friday.  A pre-quote meeting is scheduled for Tuesday, February 10, 2015 at 10:00am at the Front of the Dog Park, Palmetto Islands County Park, 444 Needlerush Pkwy., Mt. Pleasant, SC 29464.
13.  The worksite shall be secured and cleaned up daily (nails, debris, equipment, etc.)
